MESCC – CSLAB
Water Pumping System (WPS)
+
Remote Status Station (RSS)
Ricardo Mendes & Arthur Gerbelli

---
CONTENT
Requirement Specification
System requirements
Hazard Analysis
Traceability
Implementation:
CCSYA - Assembly
RTAES - Concurrency and RealTime Scheduling
COMCS - Communication Infrastructure
Prototype

---
REQUIREMENTS SPECIFICATION – System Requirements
WPS:
SN-1.1	
SN-1.2	
SN-1.3	
SN-1.4	
SN-1.5	
SN-1.6	
RSS:
SN-2.1	 The status of all WPS shall be displayed on all RSS.
SN-2.2	
SN.2.3	 The RSS shall have an independent power supply from the WPS
SN.2.4	 The alarm on the RSS shall have an independent power supply
Web Server:
SN-3.1	

---
REQUIREMENTS SPECIFICATION – Hazards Analysis
H-1	
H-2	
H-3	 A pump doesn't turn OFF when the water level in bellow minimum.
H-4	
H-5	 Independent power supplies
H-6	
H-7	 RSS stops working.
H-8	 Control Unit stops working.
H-9	 Rapid wear of the first water pump.

---
REQUIREMENTS SPECIFICATION – Traceability

---
IMPLEMENTATION – CCSYS Assembly

---
IMPLEMENTATION – RTAES RT Scheduling
20 x

---
IMPLEMENTATION – RTAES RT Scheduling
Calculate Execution time:
Warning when deadline fails:

---
IMPLEMENTATION – RTAES Concurrency
WPS status:
Update WPS status:
Read WPS status:

---
IMPLEMENTATION – COMCS Communication

---
PROTOTYPE – Network diagram

---
PROTOTYPE – Test Cases
SR-1.1 While the water level is above the minimum level, WPS shall have a pump working.
SR-1.2 When the water level is below the minimum level, WPS shall have all pumps stopped.
SR-1.3 If the water level is above the maximum level, then the WPS shall trigger an alarm at the Remote Status Station (RSS).
SR-1.4 A second pump shall be turned on only when the water level is above 2/3 the maximum water level.

---
PROTOTYPE – Test Cases
SR-1.5 When only one pump is available, the maximum water level shall be reduced to 2/3.
SR-1.6 If the readings of the sensor are uneven, the system shall choose the worst case scenario, following the table below:

---
PROTOTYPE – Test Cases
SR-2.2 If the alarm is ON, the button in the RSS shall only disable it.
SR-3.1 The status of all WPS shall be visible on a web page.
H-2 Both pumps stopped working.
H-6 RSS are not getting information from WPS.